Form 4-1 Operational Checklist:  Site assessment (SA)

(This form is to be filled out one time at the initial site assessment and used as a reference for all other O&M service visits.)

Service provided on:   Date:               	Time:                   		Reference #:

Service provided by:  Company:					  Employee:

Date of last service: 		by:  ( You   ( Other:

| 1. | Surface water management | 1. □ Acceptable □ Unacceptable 2. □ Acceptable □ Unacceptable 3. □ Acceptable □ Unacceptable 4. □ Acceptable □ Unacceptable 5. □ Acceptable □ Unacceptable |
| --- | --- | --- |
|  | a. | Is surface water effectively managed/diverted |  |  |  |
|  |  | away from the site. | Yes ____ | No____ |  |
|  | b. | Is surface water effectively diverted away from |  |  |  |
|  |  | system and components. | Yes ____ | No____ |  |
|  | c. | Evaluate the presence of odor within 10 ft of perimeter of the system: |  |  |  |
|  |  | ( None ( Mild ( Strong ( Sour ( Chemical |  |
|  | d. | Source of odor, if present: _______________________________________ |  |
|  | e. | Are the system components free from settling or |  |  |  |
|  |  | erosion. | Yes ____ | No____ |  |
| 2. | Subsurface water management |  |
|  | a. | Type: ( Gravity ( Pump ( Not present |  |
|  | b. | Outlet open to drainage. | Yes ____ | No____ |  |
|  | c. | Rodent guard on outlet. | Yes ____ | No____ |  |
|  | d. | Sump pump working. | Yes ____ | No____ |  |
|  | e. | Outlet for sump pump discharge. | Yes ____ | No____ |  |
| 3. | System encroachment |  |  |  |
|  | a. | Is the system free from encroachment. | Yes ____ | No____ |  |
|  | ( Driveways (Utility easements ( Patios ( Decks (Livestock |  |
|  | ( Gardening ( Vehicular traffic ( Construction ( Pets (Other:_______ |  |
|  | b. Is the reserve area free from encroachment. Yes_____ No____ |  |
|  | ( Driveways (Utility easements ( Patios ( Decks (Livestock |  |
|  | ( Gardening ( Vehicular traffic ( Construction ( Pets (Other:_______ |  |
| 4. | Vegetation and soils |  |
|  | a. | Trees in distribution field. | Yes ____ | No____ |  |
|  |  | Type(s): ____________________________________________________ |  |
|  |  | Location(s): _________________________________________________ |  |
|  | b. | Excessive vegetation. | Yes ____ | No____ |  |
|  |  | Location(s): _________________________________________________ |  |
|  | c. | Uneven vegetation. | Yes ____ | No____ |  |
|  |  | Location(s): _________________________________________________ |  |
|  | d. | Poor vegetation. | Yes ____ | No____ |  |
|  |  | Location(s): _________________________________________________ |  |
|  | Soil fertility and salinity sampling (if required). | Yes ____ | No____ |  |
| 5. | Groundwater monitoring wells (if applicable) |  |
|  | a. | Present. | Yes ____ | No____ |  |
|  | b. | Wells accessible. | Yes ____ | No____ |  |
|  | c. | Wells intact. | Yes ____ | No____ |  |
|  | d. | Wells properly protected. | Yes ____ | No____ |  |
|  | e. | Labels and tags in place. | Yes ____ | No____ |  |
|  | Groundwater sampling (if required). | Yes ____ | No____ |  |
| 6. | Additional comments:_____________________________________________ |  |
|  | _______________________________________________________________ |  |
| Attach any photographs of the site to this form. |  |