Form 7-7  Operational Checklist:  Disinfection unit - ozone (DUO)

Service provided on:   Date:                Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:  ( You   ( Other:

Date of last inspection: _______________________________

1.	Ozone generator

a.	Manufacturer:______________  Model #:_____________________

b.	Air supply:   	( Free air      		( Pure oxygen

c.	Ozone generator operating properly.	Yes	No

d.	Filter/Screen:	( Cleaned	 		( Replaced

2.	Wastewater delivery system operating properly.	Yes	No

a.	Dosing method: 	( Pressure-dosed     	( Gravity-dosed

3.	Contact chamber

a.	Proper mixing.	Yes	No

b.	Cracks/leaks present.	Yes	No

c.	DO concentration:	___________ppm

4.	Ventilation appears operable. 	Yes	No

5.	Housing unit: 		Location:_________________

a.	Appears in good condition.		Yes	No

b.	Leaks/cracks present.		Yes	No

c.	Excessive dust present.		Yes	No

6.	Ozone sensor

a.	Sensor functioning.	Yes	No

b.	If ‘yes’, what was the reading:			ppm

c.	Safety alarm present.	Yes	No

d.	Alarm operating properly.	Yes	No

7.	 Control panel:     					N.A.___________

a.	Controls operating properly. 			Yes	No

b.	Is enclosure watertight.			Yes	No

c.	Alarm test switch operating properly.		Yes	No

d.	At time of inspection, control switch was set to: 	N.A.___________

“Hand/Manual”__

“Auto”_________

e.	If auto, setting:    Time on:_______ (min) Time off:________ (min)

8.	Manufacturer’s required maintenance performed.	Yes	No

(If ‘Yes’, attach Manufacturers Inspection form to this report, if supplied)

9.	Lab samples collected for monitoring.		Yes	No

Types of analysis:

# Text boxes

NOTES

1.  ( Acceptable

( Unacceptable

2.  ( Acceptable

( Unacceptable

3.  ( Acceptable

( Unacceptable

4.  ( Acceptable

( Unacceptable

5.  ( Acceptable

( Unacceptable

6.  ( Acceptable

( Unacceptable

7.  ( Acceptable

( Unacceptable